## Section_01 40 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 01 40 00 - General Requirements
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 01 43 39 Mockups | Laboratory Mockup | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  |  | General Mockup | [8 empty] | X | [11 empty] | X
|  |  | 01 45 00 Quality Control | Quality Assurance Plan |  |  |  |  | X
|  |  |  | Certificates | [7 empty] | X
|  |  |  | Monthly Performance Report | [6 empty] | X
|  |  | 01 78 00 Closeout Deliverables | DD Room Layout & Numbering |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | CD Room Layout & Numbering |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Product Data/Manuals |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | As-Built Drawings |  |  | X | [10 empty] | X | [6 empty] | X | X
|  |  |  | Permit Drawings |  |  | X | [17 empty] | X
|  |  |  | O&M Manuals | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Warranties | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Specifications & Guidelines |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Site & Soils Surveys | [6 empty] | X | [6 empty] | X | [6 empty] | X | X
|  |  |  | Structural Calculations |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Shop Drawings |  |  | X | [10 empty] | X | [6 empty] | X | X
|  |  |  | Air Balance Reports | [6 empty] | X | [6 empty] | X | [6 empty] | X | X
|  |  |  | Contact List of Sub-Contractors |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Asset Management Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Final Punch List | [20 empty] | X
|  |  |  | Reports & Vendor List |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Permits & Certifications: 1) All Permits 2) Certificate of Substantial Completion 3) TAB Test Report | [6 empty] | X | [13 empty] | X | X
|  |  |  | Training |  |  |  | X | [16 empty] | X | X
|  |  |  | Test Reports/Certifications | [6 empty] | X | X | [12 empty] | X
|  |  |  | Special Inspection Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Drawings: As Builts |  |  | X | [10 empty] | X | [6 empty] | X | X
|  |  |  | Drawings: Permit Set |  |  | X | [17 empty] | X
|  |  |  | Commissioning Reports/Logs | [6 empty] | X | [6 empty] | X | [6 empty] | X | X
|  |  |  | Basis of Design |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Spare Parts/Attic Stock | [13 empty] | X
|  |  |  | Submittals |  | X | X | [17 empty] | X
|  |  |  | RFIs | [20 empty] | X

## Section_03 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 03 00 00 Concrete
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 03 30 00 Concrete | Product Data |  | X | [18 empty] | X
|  |  |  | Mix Designs | [9 empty] | X | [10 empty] | X
|  |  |  | Certificates | [7 empty] | X | [12 empty] | X
|  |  |  | Shop Drawings |  |  | X | [17 empty] | X | X
|  |  |  | Schedules |  |  |  |  | X | [15 empty] | X

## Sheet_04 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 04 00 00 Masonry
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 04 22 00 Concrete Unit Masonry | Product Data |  | X | [18 empty] | X
|  |  |  | Mortar Color Selection | [8 empty] | X | [11 empty] | X
|  |  |  | Samples | [8 empty] | X | [11 empty] | X
|  |  |  | Shop Drawings |  |  | X | [17 empty] | X | X

## Section_07 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 07 00 00 Thermal and Moisture Protection
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 07 13 00 Pre-Applied Sheet Membrane Waterproofing | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | LEED Submittals |  | X | [18 empty] | X
|  |  |  | Manfacturer & Installer Qualifications | [5 empty] | X | [14 empty] | X
|  |  |  | Installation Instructions |  |  |  | X | [16 empty] | X
|  |  |  | Product Samples | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Mock-up Panels | [8 empty] | X | [11 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  | 07 13 26 Post Applied Self Adhering Sheet Membrane Waterproofing | Product Data |  | X | [18 empty] | X
|  |  |  | Shopr Drawings |  |  | X | [17 empty] | X | X
|  |  |  | Certificates | [7 empty] | X | [12 empty] | X
|  |  |  | Manfacturer Installation Instructions |  |  |  | X | [16 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  | 07 16 00 Cold Fluid-Applied Waterproofing | Product Data |  | X | [18 empty] | X
|  |  |  | Shop Drawings |  |  | X | [17 empty] | X | X
|  |  |  | Certificates | [7 empty] | X | [12 empty] | X
|  |  |  | Manufacturer's Installation Instructions |  |  |  | X | [16 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  | 07 18 00 Traffic Coating | Special Project Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [8 empty] | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  |  | Qualifications | [5 empty] | X | [14 empty] | X
|  |  |  | Certificates | [6 empty] | X | [13 empty] | X
|  |  |  | Maintenance Data |  | X | [8 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Field Quality Control Reports | [6 empty] | X | [13 empty] | X
|  |  | 07 26 16 Below-Grade Vapor Retarders | Product Data |  | X | [18 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  | 07 52 00 Modified Bituminous Membrane Roofing | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Statements | [5 empty] | X | [5 empty] | X | [8 empty] | X
|  |  |  | Certificates | [7 empty] | X |  |  |  |  | X | [7 empty] | X | X
|  |  |  | Records | [9 empty] | X |  | X | [8 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Longevity documentation | [5 empty] | X | [14 empty] | X
|  |  |  | Plans/layouts Wind Uplift resistance |  |  | X | [17 empty] | X | X
|  |  |  | Insulaton Certification | [7 empty] | X | [12 empty] | X
|  |  | 07 54 19 Polyvinyl-Chloride Roofing | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Certificates | [7 empty] | X |  |  |  |  | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Plans/layouts Wind Uplift resistance |  |  | X
|  |  |  | Longevity documentation |  | X | [18 empty] | X
|  |  |  | Recycled Content Validation | [6 empty] | X | [13 empty] | X
|  |  | 07 56 00 Fluid Applied Roofing | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Certificates | [7 empty] | X |  |  |  |  | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Plans/layouts Wind Uplift resistance |  |  | X | [17 empty] | X
|  |  |  | Installer references |  | X | [7 empty] | X | [10 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  | 07 56 13 Sparyed Polyurethane Foam Roofing | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Manufacturer's Installation Instructions |  |  |  | X | [8 empty] | X | [7 empty] | X
|  |  |  | SPF Certification | [7 empty] | X |  |  |  |  | X | [7 empty] | X
|  |  |  | Safety/Handling Instructions |  |  |  | X | [8 empty] | X | [7 empty] | X
|  |  |  | Field Quality Control Prodecures |  |  |  | X | [8 empty] | X | [7 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  | 07 60 00 Flashing and Sheet Metal | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  |  | Qualifications | [5 empty] | X | [5 empty] | X | [8 empty] | X
|  |  |  | Certificates | [7 empty] | X |  |  |  | X | [8 empty] | X
|  |  |  | Test Reports | [6 empty] | X |  |  |  |  | X | [8 empty] | X
|  |  |  | Maintenance Data |  | X | [8 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  | 07 84 00 Firestopping | Firestopping Evidence of Compliance | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Evaluation Reports | [6 empty] | X

## Section_08 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 08 00 00 Openings
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 08 14 00 Wood Doors | Finish Schedule | [12 empty] | X
|  |  |  | Finish Sample Boards | [12 empty] | X
|  |  |  | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 08 33 43 Overhead Coiling Smoke Curtains | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Product Approval Report | [6 empty] | X | [13 empty] | X
|  |  |  | Certification | [7 empty] | X |  |  |  | X | [8 empty] | X | X
|  |  | 08 44 00 Curtain wall and Glazed Assemblies | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Calculations |  | X | [18 empty] | X
|  |  |  | Certifications | [7 empty] | X |  |  |  | X | [8 empty] | X | X
|  |  |  | Product Test Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Installer's QA/QC Manual | [5 empty] | X | [14 empty] | X
|  |  | 08 50 00 Windows | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Product Schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Product Test Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Qualifications | [5 empty] | X | [14 empty] | X
08 71 00 Door Hardware
|  |  | 1.4 Submittals | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 1.4 Submittals | Hardware schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X
|  |  | 1.4 Submittals | Keying Schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X
|  |  | 1.4 Submittals | Shop drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  | 1.4, D. Project Closeout Submittals | Product Data |  | X | [11 empty] | X | [6 empty] | X
|  |  | 1.4, D. Project Closeout Submittals | Hardware schedule |  |  |  |  | X | [8 empty] | X | [6 empty] | X
|  |  | 1.4, D. Project Closeout Submittals | Keying Schedule |  |  |  |  | X | [8 empty] | X | [6 empty] | X
|  |  | 1.4, D. Project Closeout Submittals | Shop drawings |  |  | X | [10 empty] | X | [6 empty] | X | X
|  |  | 1.5 Maintenance Material Submittals | Attic stock | [13 empty] | X
|  |  | 1.6 Quality Assurance | Wiring diagrams |  |  | X | [9 empty] | X | [7 empty] | X

## Section_09 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 09 00 00 Finishes
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 09 22 16 Non-Structural Metal Framing | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 09 23 00 Gypsum Plastering | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Mockups | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  | 09 24 23 Portland Cement Stucco | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Mockups | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  | 09 29 00 Gypsum Board | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 09 30 00 Tiling | Finish Schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Finish Boards | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  |  | Product Data |  | X | [10 empty] | X | X | [6 empty] | X
|  |  |  | Maintenance Instructions | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Attic Stock | [13 empty] | X
|  |  | 09 51 00 Acoustical Ceilings | Finish Schedule |  | X |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Finish Boards | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  |  | Maintenance Instructions | [10 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Ceiling Maintenance Material (Attic Stock) | [13 empty] | X
|  |  |  | Product Data |  | X | [8 empty] | X |  | X | X | [6 empty] | X
|  |  |  | Coordination Drawings |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Samples | [8 empty] | X
|  |  | 09 65 00 Resilient Flooring | Finish Schedule |  | X |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Finish Boards | [8 empty] | X |  |  |  | X
|  |  |  | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Maintenance instructions | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  |  | Flooring Maintenance Material (Attic Stock) | [13 empty] | X
|  |  | 09 67 23 Resinous Flooring | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  |  | Installer Qualifications |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Warranty | X | [11 empty] | X | [7 empty] | X | X
|  |  |  | Maintenance Data | [13 empty] | X
|  |  | 09 68 13 Carpet Tile | Product Data |  | X | [10 empty] | X
|  |  |  | Certificates | [7 empty] | X |  |  |  |  | X
|  |  |  | Warranty | X | [11 empty] | X | [8 empty] | X
|  |  |  | Maintenance Data | [12 empty] | X | X
|  |  |  | Attic Stock | [13 empty] | X
|  |  | 09 69 00 Access Flooring | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  | 09 70 00 | Wall Finish Schedule |  | X |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Wall Finish Boards | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  |  | Maintenance Instructions | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Wall Finish Maintenance Material (Attic Stock) | [13 empty] | X
|  |  | 09 90 00 Painting and Coating | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  |  | Product List |  |  |  |  | X | [7 empty] | X | [7 empty] | X

## Section_10 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 10 00 00 Specialties
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 10 11 00 Visual Display Surfaces | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Product Schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Maintenance Data |  | X | [8 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Samples | [8 empty] | X
|  |  | 10 14 00 Interior Signage | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  |  | Shop Drawiings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  | 10 21 00 Toilet Compartments | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawiings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Certificates | [7 empty] | X |  |  |  | X | [8 empty] | X
|  |  |  | Maintenance Data |  | X | [8 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  | 10 26 00 Wall and Door Protection | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  |  | Shop Drawiings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Certificates | [7 empty] | X |  |  |  | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  | 10 28 13 Toilet Accessories | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Product Schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X

## Section_11 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 11 00 00 Equipment
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 11 13 00 Loading Dock Equipment | Produc Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Warranty | X | [19 empty] | X | X
|  |  |  | Shop Drawings |  |  | X | [17 empty] | X | X
|  |  |  | Certificates | [7 empty] | X | [12 empty] | X
|  |  |  | Product Test Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Installer Qualifications | [5 empty] | X | [14 empty] | X
|  |  |  | Maintenance Data |  | X | [8 empty] | X |  | X | [7 empty] | X | X
|  |  | 11 20 00 Institutional Equipment | Produc Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 11 30 00 Residential Equipment | Produc Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 11 52 00 Audio Visual Equipment | Produc Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 11 53 00 Laboratory Equipment | Produc Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 11 53 13 Laboratory Fume Hoods | Acoustical Performance Data |  | X | [10 empty] | X | X | [6 empty] | X | X
|  |  | 11 81 29 Facility Fall Protection Equipment | Produc Data |  | X | [10 empty] | X | [7 empty] | X
|  |  | 11 82 23 Recycling Equipment | Produc Data |  | X | [10 empty] | X | [7 empty] | X

## Section 12 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 12 00 00 Furnishings
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 12 24 00 Window Shades | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Product Schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Installer Qualifications | [5 empty] | X | [14 empty] | X
|  |  |  | Certificates | [7 empty] | X |  |  |  | X | [8 empty] | X
|  |  |  | Test Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Maintenance Data |  | X | [8 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  | 12 32 00 Manufactured Wood Casework | Woodwork Institute (WI) Certified Compliance Labels |  |  | X |  |  |  |  | X |  |  |  |  | X | [7 empty] | X
|  |  |  | Seismic Performance Compliance | [9 empty] | X |  | X | [8 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Keying Schedule |  |  |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X
|  |  |  | Qualifications | [5 empty] | X | [14 empty] | X
|  |  |  | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Field Quality-Control Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Maintenance Materials | [13 empty] | X | [7 empty] | X
|  |  | 12 35 53 Wood Laboratory Casework and Furniture | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Certificates | [7 empty] | X |  |  |  | X | [8 empty] | X
|  |  |  | Samples | [9 empty] | X |  |  | X
|  |  | 12 35 53 Laboratory Metal Casework | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Samples | [8 empty] | X |  |  |  | X | [7 empty] | X
|  |  |  | Product Certificates | [7 empty] | X |  |  |  | X | [8 empty] | X | X
|  |  |  | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Wood Finish Testing | [6 empty] | X | [13 empty] | X

## Section_13 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 13 00 00 - Special Construction
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 13 21 00 Controlled Enviroment Rooms | Vacuum Test | [6 empty] | X | [6 empty] | X | [7 empty] | X
|  |  |  | Acceptance Test | [6 empty] | X | [6 empty] | X | [7 empty] | X
|  |  |  | Temperature Mapping | [6 empty] | X | [6 empty] | X | [7 empty] | X
|  |  |  | Training Plan |  |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Controller Values |  | X | [11 empty] | X | [7 empty] | X
13 21 13 Clean Rooms

## Section 14 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 14 00 00 Conveying Equipment
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSIFICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  |  | CONTRACTOR |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 14 20 00 Elevators | Operating & Maintenance Instructions | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Catalog of Parts & Recommended Inventory | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Purchasing Source List | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Final Wiring Diagrams | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Troubleshooting Guides | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Emergency Information | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Acceptance Test Results | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Service Training Plan |  |  |  | X | [8 empty] | X | [7 empty] | X | X
|  |  |  | Product Data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X

## Section_21 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 21 00 00 - Fire Protection
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
21 00 00 Fire Protection
|  |  | 21 00 00 General | System Pressure Test | [9 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Substitutions |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Testing | Pressure Test Certificates | [7 empty] | X |  |  |  |  | X | [8 empty] | X

## Section_22 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 22 00 00 - Plumbing
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 22 00 00 Plumbing | DDC Control Diagram | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Sequence of Operation | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Water Balance Reports | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Pump Curves | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Data Sheets | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Electrical Data | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Maintenance Procedures | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Performance Characteristics | [10 empty] | X |  | X | X | [6 empty] | X | X
|  |  |  | Spare Parts (Attic Stock) | [13 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X
|  |  | 22 07 16 Plumbing Insulation | Plumbing Equipment Insulation |  | X |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 07 19 Plumbing Insulation | Plumbing Piping Insulation |  | X |  |  | X | [7 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 33 00 Electric Water Heaters | Manufacturere's Certificate of Compliance | [7 empty] | X |  |  | X |  | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 34 00 Tankless Gas Fired Heaters | Meets SCAQMD Requirements | [7 empty] | X |  |  | X |  | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 35 00 Domestic Water Heat Exchangers | Heat Exchange (each/type) | X | [6 empty] | X |  | X | X |  | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 10 00 Building Support Plumbing Systems | Rain Water Leak Test | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | System Pressure Tests | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 11 17 Alternate Non-Potable Water Systems | Pumps (each/type) |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Water Treatment Skid |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Day Tank and Cistern |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 13 00 Sanitary Waste and Vent | Sewage Ejectors (each/type) |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 14 00 Storm Drainage | Sump Pumps (each/type) |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 40 00 Plumbing Fixtures | Fixtures |  |  | X | [6 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 60 00 Gas Systems | Calibration Certification and Related Documentation | [7 empty] | X | [5 empty] | X | [6 empty] | X | X
|  |  |  | System Pressure Tests | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Nitrogen Purge | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 61 00 Compressed Air Systems for Laboratory Facilities | Air Compressors (each/type) |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Air Dryers (each/type) |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 62 00 Vacuum for Laboratory Facilities | Vacuum Pumps (each/type) |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 63 00 Non-Reactive Lab Gas Mass Flow Meter | Inspection & Test Records | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Date of Line Installed | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Date of Installation | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Operational & Final Approval | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | O&M Manual | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Serial & Model Numbers | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Specifications & Range | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Factory Calibration Certificate | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Record of Inspection | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Pressure Test Report | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Function & Calibration Tests | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Service Requirements | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 22 67 14.19 Passivation | Contractor Credentials |  | X | [5 empty] | X |  |  |  |  | X | [7 empty] | X
|  |  |  | Cleaning and Passivation Procedures | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | Execution Records | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Waste Disposal Records | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 10 00 Facility Fuel Systems | System Pressure Tests | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Fuel Pumps (each/type) |  |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Fuel Storage Tanks (each/type) | X |  | X | [6 empty] | X | X |  | X | [7 empty] | X | X

## Section_23 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 23 00 00 - HVAC
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
23 00 00 HVAC
|  |  | 23 00 00 Campus Utility | Utility Tunnel Arrangements and Connections |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Utility Shut-Down Request | [9 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 00 00 Closeout Information | As-Built CAD Files | [13 empty] | X | [6 empty] | X | X
|  |  |  | Air/Water Balance Reports | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Approved Submital | [20 empty] | X
|  |  |  | Pump/Fan Curves | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Data Sheets for Major Equipment | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | CAV/VAV Unit Performance | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | CAV/VAV Sound Performance | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Electrical Data | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Maintenance Procedures | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Performance Characteristics | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Spare Parts (Attic Stock) | [13 empty] | X | [6 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 00 00 Operation & Maintenance Manuals | Operation & Maintenance Manual | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Catalog Data | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Programmer's Manual | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Program Listing | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | O&M Cautions/Instructions | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Maintenance Asset List | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  | 23 00 00 Training | Training Outline |  |  |  | X | [8 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 05 13 Common Motor Requirements for HVAC Equipment | Motors; Proof of Efficiency Shaft Grounding Ring (as applicable) |  | X | [7 empty] | X | X |  | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 05 16 Expansion Fittings and Loops for HVAC Piping | Thermal Expansion & Stress Analysis Report |  |  | X |  |  |  | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Expansion Joints |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Seismic Support & Anchorage Design and Calculations | [5 empty] | X |  |  |  | X |  | X | [8 empty] | X | X
|  |  |  | As-Built - Identifying Expansion Joint/Loop Locations | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 05 19 Meters and Gauges | Room Differential Pressure Sensor - Vivarium Only |  | X | [8 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Insertion Flow Meter |  | X |  | X | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 05 23 General-Duty Valves for HVAC Piping | Valves (each type/size) |  | X | [10 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 05 29 Hangers and Supports for HVAC Piping and Equipment | Welder's Certification | [7 empty] | X |  |  |  | X | [8 empty] | X
|  |  |  | Structural Pipe Penetration/ Attachment Locations |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 05 93 Testing/Adjusting/Balancing | Test Procedures | [9 empty] | X |  |  |  | X | [6 empty] | X
|  |  |  | Air Balance Test | [6 empty] | X | [6 empty] | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 07 13 HVAC Insulation | Duct Insulation |  | X |  |  | X | [7 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 07 16 HVAC Insulation | HVAC Equipment Insulation |  | X |  |  | X | [7 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 07 19 HVAC Insulation | HVAC Piping Insulation |  | X |  |  | X | [7 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 21 13 Hydronic Piping | Welder's Certification | [7 empty] | X |  |  |  | X | [8 empty] | X | X
|  |  |  | Steel Pipe Chemical Passivation Report | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | System Pressure Tests | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 21 23 Hydronic Pumps | Pump (each type/size) |  | X |  |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 22 13 Steam and Condensate Piping | Welder's Certification | [7 empty] | X |  |  |  | X | [8 empty] | X | X
|  |  |  | Steel Pipe Chemical Passivation Report | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | System Pressure Tests | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 22 16 -Steam and Condensate Specialties | Steam Traps (each type/size) |  | X |  |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 22 23 Steam Condensate Pumps | Pump (each type/size) |  | X |  |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 25 00 HVAC Water Treatment | Water Treatment Plan & Sequence |  |  | X | X |  |  | X |  |  | X | X |  | X | [7 empty] | X | X
|  |  |  | Material Safety Data Sheets (MSDS) | [6 empty] | X | [6 empty] | X | [6 empty] | X | X
|  |  |  | Water Systems Prior to Campus Connection | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 31 00 HVAC Ducts and Casings | Coated or FRP Ductwork |  | X | [5 empty] | X |  |  |  |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 33 00 Air Duct Accessories | Combination Smoke/Fire Dampers (CSFD) |  | X |  | X | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Control Dampers |  | X |  |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | 5 Year Damper Warranty | X | [8 empty] | X | [10 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 34 00 HVAC Fans | Fans (each type/size) |  | X |  |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 36 00 Air Terminal Units | Air Terminal Units (each type/size) |  | X |  |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 40 00 HVAC Air Filters & Cleaning Devices | HEPA Filters (each type/size) |  | X |  |  | X | [7 empty] | X | [7 empty] | X | X
|  |  |  | Fan Powered HEPA Filter Modules |  | X | X |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | UVC Lights/Emitters |  | X | X | X |  |  |  | X |  |  | X |  | X | [7 empty] | X | X
|  |  |  | Substitutions | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Inbound/Outbound Tests | [9 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Total Output Test | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 50 00 Central Heating Equipment | Heat Exchangers (each type/size) |  | X | X |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Unfired Steam Generators |  | X | X |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 70 00 Central HVAC Equipment | Air Handling Units (each type/size) |  | X | X |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Leak Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Factory Sound test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 81 23 Computer Room Air Conditioners | CRAC Units (each type/size) |  | X | X |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 82 16 Air Coils | Coils (each type/size) |  | X |  |  | X | [7 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 82 19 Fan Coil Units | Fan Coil Units (each type/size) |  | X | X |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Fan Coil Unit QA ETL Certified | [9 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Fan Coil Unit QA ISO 9002 Facility | [9 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Fan Coil Unit QA Fully Load Tested | [9 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | Section 23 84 00 Humidifiers | Humidifier (each type/size) |  | X | X |  | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X

## Section_23 09 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 23 09 00 - Building Automation System (BAS)
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 23 09 00 Instrumentation & Controls | Sequence of Operation |  | X | [10 empty] | X | [7 empty] | X | X
|  |  |  | Product data |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | DDC System Hardware |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Instrumentation List |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Floor/Device Plans |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Sequence of Operation |  | X | [10 empty] | X | [7 empty] | X | X
|  |  |  | As-Built Floor Plans |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Field Device Locations |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Check-Out Sheet |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Control Valve Schedule |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | I/O Points Schedule |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Riser Diagram |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Controler Wiring Diagram |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Equipment Control Layout |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Shop Drawings |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Bill of Materials |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Schematic Flow Diagrams |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Wiring Diagrams |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Details |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Sequence of Operation |  | X | [10 empty] | X | [7 empty] | X | X
|  |  |  | I/O Pints List Schedule |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Schedule of Dampers |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Schedule of Control Valves |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 09 00 DDC Systems | Wiring Diagrams |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Diagrams & Floor Plans |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Schematic Diagrams |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Control System Software |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Controlled Schematic Diagrams |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Controlled Scale Drawings |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Sequence of Operation |  |  | X | [9 empty] | X | [7 empty] | X | X
|  |  |  | Controlled Points List |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Thermal Zone Maps |  |  | X | [9 empty] | X | [7 empty] | X
|  |  |  | Protocol Certs ASHRAE/IEEE | [7 empty] | X |  |  |  | X | [8 empty] | X
|  |  |  | Protocol Certs BACNET | [7 empty] | X |  |  |  | X | [8 empty] | X
|  |  |  | Qualification Data |  | X | [9 empty] | X | [8 empty] | X
|  |  |  | Software Upgrade Kit |  | X | [9 empty] | X | [8 empty] | X
|  |  |  | Field QC Test Reports | [6 empty] | X |  |  |  |  | X | [8 empty] | X
|  |  |  | Access ID's & Passwords |  | X | [9 empty] | X | [8 empty] | X
|  |  |  | O&M Data | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 09 00 Closeout Submittals | Maintenance Instructions |  |  |  | X | [9 empty] | X | [6 empty] | X | X
|  |  |  | Spare Parts List | [20 empty] | X
|  |  |  | Wiring Diagrams |  |  | X | [10 empty] | X | [6 empty] | X | X
|  |  |  | Inspection Period | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Calibration Records | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Maintainable Asset List |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Software Manuals | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Device Address List |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Software Application/Screens | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Software License |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Maintenance Materials |  | X | [11 empty] | X | [6 empty] | X | X
|  |  |  | Installer Qualifications | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | VFD 5 Year Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 09 00 Execution | Field Service Reports | [6 empty] | X | [13 empty] | X
|  |  |  | Operational Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Controls & Safeties Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Controller Calibration | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | I/O Point Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Control Loop Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Sequence of Operation Test | [6 empty] | X | [6 empty] | X | [6 empty] | X | X
|  |  |  | Software & Hardware Interlocks | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Calibration Procedures |  |  |  | X | [8 empty] | X | [7 empty] | X
|  |  |  | O&M Training |  |  |  | X | [9 empty] | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 09 00 Acceptance/Commissioning | Complete & Operational Tested | [6 empty] | X | [6 empty] | X | [6 empty] | X | X
|  |  |  | As-Built Documentation |  |  | X | [10 empty] | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 23 09 00 O&M Manuals | Operation & Maintenance Manual | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Catalog Data | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Programmer's Manual | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Program Listing | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Warranty | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | O&M Cautions/Instructions | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Maintenance Asset List | [10 empty] | X |  |  | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X

## Section_26 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 26 00 00 - Electrical Design Criteria
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 26 00 00 Electrical Design Criteria | Electrical Shutdowns |  |  |  | X | [8 empty] | X | [7 empty] | X
|  |  |  | Record Drawings |  |  | X | [10 empty] | X | [6 empty] | X | X
|  |  |  | Building Permit - Prior to Construction Complete | [9 empty] | X |  |  | X | [7 empty] | X | X
|  |  |  | Building Permit - Complete Construction | [9 empty] | X |  |  |  | X | [6 empty] | X | X
|  |  |  | Soils Testing | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 26 01 26 Electrical Tests | Ground Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Motor Rotation | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Megger Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 26 00 00 Materials | Substitutions |  | X | [10 empty] | X | [7 empty] | X
|  |  |  | Manufacturer's Guarantee | X | [12 empty] | X | [6 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 26 22 00 Low Voltage Transformers | Manufacturer's Test Reports | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 26 05 13 Medium Voltage Cables | Pulling & Tension Calculations | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | 24 Hour Pulling Notification | [9 empty] | X |  |  | X | [7 empty] | X
|  |  |  | Splice/Termination/Stress Recommended Details | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 26 05 00 Testing | DC High Pot Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Coordination Study | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Arc Flash Analysis | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 26 20 00 Low Voltage Cables | Ground Test | [6 empty] | X | [6 empty] | X | [6 empty] | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X

## Section 26 20 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 26 20 00 - Electrical Service and Distribution
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 26 20 00 Electrical Service and Distribution | Substitutions |  | X |  |  |  | X | [6 empty] | X | [7 empty] | X
|  |  |  | Warrenty | X | [9 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Product Data |  | X | X | [6 empty] | X | X |  | X | [7 empty] | X
|  |  |  | Operation and Maintenance Manuals | X | X | X | X | X | X | X | X |  | X | X |  | X | [7 empty] | X | X
|  |  |  | Testing | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Spare Parts |  | X | X | X | X | [5 empty] | X |  | X | [7 empty] | X | X
|  |  |  | As Builts |  | X | [8 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X

## Section_26 30 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 26 30 00 - Generators
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
26 30 00 Generators
|  |  | 26 32 13 Engine Generators | 5 Year Extended Warranty | X | [9 empty] | X |  | X | [7 empty] | X | X
|  |  |  | O&M Manuals | [10 empty] | X |  | X | [7 empty] | X | X
|  |  |  | SCAQMD Certification | [7 empty] | X |  | X | X |  | X | [7 empty] | X | X
|  |  |  | Pasadena FD Fuel Permit | [7 empty] | X |  | X | X |  | X | [7 empty] | X | X
|  |  |  | Post Startup Load Test | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Code Compliance Test | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Training |  |  |  | X | [8 empty] | X | [7 empty] | X | X
|  |  |  | Shop Drawings |  | X | X | X | [8 empty] | X | [7 empty] | X | X
|  |  |  | Sequence of Operations |  |  |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  |  | As Builts |  | X | [8 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  | 26 36 23 Automatic Transfer Switches | 5 Year Extended Warranty | X | [9 empty] | X |  | X | [7 empty] | X | X
|  |  |  | O&M Manuals | [10 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Post Startup Load Test | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Code Compliance Test | [6 empty] | X | [5 empty] | X | [7 empty] | X | X
|  |  |  | Training |  |  |  | X | [8 empty] | X | [7 empty] | X | X
|  |  |  | Shop Drawings |  | X | X | X | [8 empty] | X | [7 empty] | X | X
|  |  |  | Sequence of Operations |  |  |  | X | [6 empty] | X |  | X | [7 empty] | X | X
|  |  |  | As Builts |  | X | [8 empty] | X |  | X | [7 empty] | X | X
|  |  |  | Special Tools |  | X |  | X | [6 empty] | X |  | X | [7 empty] | X | X

## Section_26 50 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 26 50 00 Lighting
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
|  |  | 26 50 00 Lighting | Substitutions |  | X |  |  |  | X | [14 empty] | X
|  |  |  | Warrenty - 5 Year | X | [9 empty] | X |  | X | [8 empty] | X
|  |  |  | Product Data |  | X | X | [6 empty] | X | X |  | X | [7 empty] | X
|  |  |  | Operation and Maintenance Manuals | X | X | X | X | X | X | X | X |  | X | X |  | X | [8 empty] | X
|  |  |  | Testing | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | Spare Parts |  | X | X | X | X | [5 empty] | X |  | X | [7 empty] | X
|  |  |  | As Builts |  | X | [8 empty] | X |  | X | [7 empty] | X

## Section_27 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 27 00 00 - Communications
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
27 00 00 Communications
|  |  | 27 32 00 Voice Communications | Testing & Adjustment |  | X |  |  |  |  | X | [5 empty] | X | [7 empty] | X
|  |  |  | Acceptance Testing | [6 empty] | X | [5 empty] | X | [7 empty] | X
|  |  |  | Training |  |  |  | X | [8 empty] | X | [8 empty] | X

## Section 33 00 00
SUBMITTAL REGISTER | [24 empty] | Project CP No. XXXX
PROJECT TITLE AND LOCATION: CALTECH PROJECT | [15 empty] | Caltech 1200 East California Blvd. Pasadena, CA 91125 | [8 empty] | Design Guidelines Section 33 00 00 Utilities
[5 empty] | TYPE OF SUBMITTAL | [10 empty] | CLASSI- FICATION |  |  | CONTRACTOR SCHEDULE DATES |  |  | CONTRACTOR ACTION |  |  | OWNER ACTION
ACTIVITY NO | TRANS- MITTAL NO. | ITEM NO | DESIGN GUIDE SECTION PARAGRAPH NUMBER | DESCRIPTION OF ITEM SUBMITTED | WARRANTY | DATA | DRAWINGS | INSTRUCTIONS | SCHEDULES | STATEMENTS | REPORTS | CERTIFICATES | SAMPLES | RECORDS | O&M MANUALS | INFORMATION ONLY | OWNER REVIEWED | SUBMIT AT CLOSEOUT ONLY | SUBMIT | APPROVAL NEEDED BY | MATERIAL NEEDED BY |  | FORMAT OF ITEM | INSTRUCTION ON TRANSMITTING THE ITEM (POST TO PROJECT SHAREPOINT SITE OR OTHER) | FILE ONLY IN PROJECT FOLDER | FILE IN MERIDIAN | REMARKS
a | b | c | d | e | f | g | h | i | j | k | l | m | n | o | p | q | r | s | t | u | v | w | x | y | z | aa | ab
33 00 00 Utilities
|  |  | 33 10 00 Water Utilites | Test Report | [6 empty] | X | [6 empty] | X | [6 empty] | X | X